IN SITU REMOTE MONITORING OF NOVEL BIODEGRADABLE CARDIOVASCULAR STENTS - DESIGN & VALIDATION

Lilia Aljihmani1, Hasan Abbas2, Bilal Mansoor3, and Khalid Qaraqe1

1 - Electrical and Computer Engineering, Texas A&M University at Qatar, Education City, Doha, Qatar

2 - James Watt School of Engineering, University of Glasgow, Glasgow, United Kingdom

3 - Mechanical Engineering, Texas A&M University at Qatar, Education City, Doha, Qatar

# e-mail address of presenting/corresponding author: lilia.aljihmani@qatar.tamu.edu

Background: A biodegradable metal stent implantation restores flow in a clogged or damaged artery back to a healthy artery and then completely disappears in 18-24 months. Magnesium-based stents have advantages due to their radial strength and biocompatibility.

Aim: We aimed to study novel magnesium-based biodegradable tubes and propose a wireless scheme to monitor on-site the stent’s degradability.

Method: To fully explore the potential benefits of this alternative approach, research and development are needed on biodegradable stent materials, stent designs and delivery systems, deployment techniques, adjunctive antithrombotic therapies, and sensing technologies for stent degradation monitoring.

Results and discussion: In the proof-of-concept study, funded by Sidra Medicine:

We investigated the signiﬁcant progress made over the last two decades in the development of Mg-based alloys and in their performance characterization for both in vitro and in vivo deployments.

We developed design and manufacturing guidelines and evaluated the performance bounds of biodegradable stenting and monitoring solutions. The mechanical and structural design of the stent was optimized using multiphysics simulation models. The key design elements considered include the selection of length and diameter, deciding on open vs. closed-cells, surface area, number, and thickness of struts connecting the support segments.

We presented a non-invasive technique to progressively monitor the degradation of a magnesium-based biodegradable cardiovascular stent using mm-waves.

Conclusion: We completed the tasks of manufacturing Mg-alloy tubes and develop microstructure-property relationships and studied the stent’s geometry design parameters for optimum performance. The proposed frequency range can provide suﬃcient spatial resolution and penetration without radiation damage to the tissue.

Acknowledgments

This study was made possible by Sidra Internal Research Fund grant number SIRF 200041 from Sidra Medicine (a member of the Qatar Foundation).

Keywords: magnesium-based bioresorbable stent, corrosion, degradation monitoring