in vitro evaluation of doped hydroxyapatite coatings electrochemically deposited on titanium nanostrctured surface

D.M. Vranceanu1*, I.C. Ionescu1, E. Ungureanu1, A.C. Parau2,

R.I. Zamfir1, I. Titorencu3, M. Badea4, C. Adochite4, S. Costinas4, M. Idomir4,

A. Vladescu2 and C.M. Cotrut1

1 - University POLITEHNICA of Bucharest, 313 Independeței Street, Bucharest, Romania

2 - National Institute for Optoelectronics, 409 Atomistilor Street, Magurele, Bucharest, Romania

3 - Institute of Cellular Biology and Pathology “Nicolae Simionescu 8 B.P.HASDEU street, Bucharest, Romania

4 - Faculty of Medicine, Transilvania University of Brasov, Nicolae Balcescu 56, 500019 Brasov, Romania

## diana.vranceanu@upb.ro

Background: In medicine, the coatings field is rapidly diversifying, aiming to improve the osseointegration of the metallic implant and to tackle the bioinert character of the metallic materials.

Aim: The aim of this research was to evaluate the in vitro behaviour of Mg or Zn doped HAp coatings obtained by electrochemical technique in pulsed galvanostatic mode on titania nanotubes.

Method: The surfaces were analysed in terms of wettability, bioactivity, electrochemical behaviour, cell interaction and antibacterial efficiency.

Results and discussion: Addition of Zn or Mg into HAp has enhanced the wettability and in vitro cell behaviour, while on the antimicrobial efficiency the best results were attributed to the Zn doped HAp.

Conclusion: Overall, it can be said that addition of the Mg or Zn can enhance the in vitro behaviour of the HAp based coatings in accordance with to the clinical needs.

Acknowledgments: This research has been funded by the Romanian Ministry of Education and Research, CNCS - UEFISCDI, project number PN-III-P1-1.1-TE-2019-1331, within PNCDI III (project no. TE 172/2020; 3B-CoatED).

Keywords: hydroxyapatite; bioactivity; MTT assay; antibacterial efficiency.

influence of mg and zn content on the properties of hydroxyapatite based coatings

# D.M. Vranceanu1*, I.C. Ionescu1, E. Ungureanu1, A. Kiss2,

# A.C. Parau2 and C.M. Cotrut1

1- University POLITEHNICA of Bucharest, 313 Independeței Street, Bucharest, Romania

2- National Institute for Optoelectronics, 409 Atomistilor Street, Magurele, Bucharest, Romania

## diana.vranceanu@upb.ro

Background: Biomaterials are an integrated part of modern medicine, and their development and improvement are essential.

Aim: Thus, the aim of this research was to obtain hydroxyapatite (HAp) based coatings doped with different concentration of Mg (H/MgX, where X is 1 and 1.5 mM of Mg(NO3)2·6H2O in the electrolyte) and Zn (H/ZnY, where Y is 0.015 and 0.020 mM of Zn(NO3)2·6H2O in the electrolyte) on Ti nanostructured surface through electrochemical techniques, and to evaluate the influence of the doping elements content on the physico-chemical properties of HAp. All electrolytes were prepared with respect to (Ca+M)/P ratio of 1.67, where M is Mg or Zn concentration.

Method: The HAp based coating were electrochemically deposited in galvanostatic pulsed mode on titania nanotubes. The materials were analysed by SEM-EDS, XRD and FTIR. The coatings adhesion on the substrate was also investigated.

Results and discussion: All coatings present a morphology that consists in ribbon like crystals. XRD and FTIR have confirmed the formation of HAp phase in all coatings. Addition of the doping elements in smaller amounts don’t alter the coatings adhesion.

Conclusion: The results have indicated that addition of Zn or Mg in smaller amounts enhances the properties of HAp coatings, compared to higher ones.

Acknowledgments: This research has been funded by the Romanian Ministry of Education and Research, CNCS - UEFISCDI, project number PN-III-P1-1.1-TE-2019-1331, within PNCDI III (project no. TE 172/2020; 3B-CoatED).

Keywords: hydroxyapatite; coatings; electrochemical deposition.